## Slide 1
SUPPLEMENTARY UNIT
Lab AI for Medical
AI in Laboratory & Diagnostic Testing — Pathology, Chemistry, Microbiology, Point-of-Care, and Molecular Diagnostics
~30 sec
Lab AI for Medical — Supplementary Unit
1

## Slide 2
OVERVIEW
The Landscape of Lab AI
Digital Pathology
Whole-slide imaging + AI for cancer detection & grading
Clinical Chemistry
Critical-value flagging & reference-range anomaly detection
Microbiology
Organism ID from culture images; susceptibility prediction
Point-of-Care Testing
AI-assisted rapid diagnostics & ECG interpretation
Molecular Diagnostics
Genomic variant calling & classification
Lab Quality & Validation
CLIA/CAP analytical vs. clinical validation
~1.5 min
Lab AI for Medical — Supplementary Unit
2

## Slide 3
PATHOLOGY
Digital Pathology & Whole-Slide AI
Whole-Slide Imaging (WSI) + CNN Classification
WHY IT MATTERS
A single whole-slide scan can contain billions of pixels — no pathologist can manually screen every field at the same resolution an AI model can, especially for rare or subtle findings.
WORKED EXAMPLE
A prostate biopsy WSI is screened by an AI model for Gleason pattern regions before a pathologist reviews it — flagging the 3 highest-suspicion fields out of hundreds, cutting review time while keeping the pathologist as final sign-off (HITL, same as every other unit in this course).
~2 min
Lab AI for Medical — Supplementary Unit
3

## Slide 4
CLINICAL CHEMISTRY
Critical-Value Flagging & Anomaly Detection
Reference-Range Anomaly Detection
WHY IT MATTERS
Lab result AI isn't diagnosing disease directly — it's catching statistically implausible results before they reach a clinician, the same way a spell-checker catches a typo before you send an email.
WORKED EXAMPLE
A potassium result of 9.8 mmol/L (physiologically implausible without hemolysis) is auto-flagged by the lab AI for repeat testing before it's ever released to the chart — preventing a false emergency alert AND a missed real one.
~1.5 min
Lab AI for Medical — Supplementary Unit
4

## Slide 5
MICROBIOLOGY
Organism ID & Susceptibility Prediction
Image-Based Organism Classification
WHY IT MATTERS
Traditional culture identification can take 24–72 hours; AI-assisted image classification of early culture growth patterns can flag likely organism families in hours, directly shortening time-to-appropriate-antibiotic.
WORKED EXAMPLE
An AI model trained on Gram-stain images flags a blood culture as 'likely gram-negative rod' within hours of growth, prompting empiric antibiotic adjustment before the full 48-hour confirmatory ID returns.
~1.5 min
Lab AI for Medical — Supplementary Unit
5

## Slide 6
POINT-OF-CARE
AI-Assisted Point-of-Care Testing
Embedded AI in Rapid Diagnostic Devices
WHY IT MATTERS
Point-of-care AI shifts some interpretation burden from a trained lab tech to a bedside device — which means the HITL question changes from 'did the lab verify this' to 'did the bedside clinician verify this.'
WORKED EXAMPLE
A smartphone-camera-based rapid strep test uses an embedded AI model to interpret a faint test line that a human eye might misread — but a false-negative override protocol still requires a repeat test if symptoms strongly suggest strep despite a negative AI read.
~2 min
Lab AI for Medical — Supplementary Unit
6

## Slide 7
MOLECULAR DIAGNOSTICS
Genomic Variant Calling & Classification
Variant of Uncertain Significance (VUS) Classification
WHY IT MATTERS
AI models increasingly help classify genomic variants as benign, pathogenic, or uncertain — but a VUS misclassified as pathogenic can trigger unnecessary prophylactic treatment, and one misclassified as benign can miss a real risk.
WORKED EXAMPLE
An AI-assisted variant classifier flags a BRCA1 variant as 'likely pathogenic' based on population frequency data — a genetic counselor still reviews the full pedigree and functional evidence before delivering that result to the patient.
~1.5 min
Lab AI for Medical — Supplementary Unit
7

## Slide 8
QUALITY & VALIDATION
Lab AI Quality Control — CLIA/CAP Framework
Analytical Validation vs. Clinical Validation
WHY IT MATTERS
A lab AI tool can be analytically excellent (consistently measures what it claims to measure) while still being clinically unvalidated (never proven to improve patient outcomes) — labs must document both separately under CLIA/CAP.
WORKED EXAMPLE
A digital pathology AI tool passes analytical validation (98% concordance with manual review on a validation set) but is still undergoing clinical validation (does earlier flagging actually improve time-to-treatment) before full deployment.
~1.5 min
Lab AI for Medical — Supplementary Unit
8

## Slide 9
MATH
Math Deep-Dive: Likelihood Ratios
LR+ = Sensitivity / (1 − Specificity) LR− = (1 − Sensitivity) / Specificity
Unlike sensitivity/specificity alone, a likelihood ratio tells you how much a POSITIVE or NEGATIVE lab-AI result should actually shift your probability of disease — which is what you need at the bedside, not just an accuracy percentage.
Worked example: An AI-assisted rapid test has sensitivity 95%, specificity 90%. LR+ = 0.95/(1−0.90) = 9.5 — a positive result makes disease roughly 9–10× more likely than before testing. LR− = (1−0.95)/0.90 = 0.056 — a negative result cuts the odds of disease by about 95%.
~2.5 min
Lab AI for Medical — Supplementary Unit
9

## Slide 10
INDUSTRY
Industry Adoption in Lab AI
Who's Using This & How
PathAI, Paige, Ibex Medical Analytics — FDA-cleared/CE-marked digital pathology AI for cancer detection and grading
Roche, Abbott, Siemens Healthineers — clinical chemistry analyzers with embedded anomaly-flagging AI
BD (Becton Dickinson), bioMérieux — AI-assisted microbiology identification and susceptibility platforms
Butterfly Network, AliveCor — AI-embedded point-of-care ultrasound and ECG devices
Illumina, Foundation Medicine — AI-assisted variant calling and classification in molecular diagnostics
~1.5 min
Lab AI for Medical — Supplementary Unit
10

## Slide 11
USMLE-Norm Question
A lab AI tool for digital pathology has passed analytical validation with 98% concordance to manual review, but clinical validation (whether it improves time-to-treatment) is still ongoing. Can the lab deploy this tool for primary diagnostic use right now?
A) Yes — analytical validation alone is sufficient for any clinical use
B) No — CLIA/CAP requires both analytical AND clinical validation be appropriately documented before the intended clinical use is supported
C) Yes, but only for research purposes with no patient impact whatsoever
D) No — digital pathology AI can never be clinically validated
~2 min
Lab AI for Medical — Supplementary Unit
11

## Slide 12
CLINICAL ADVANTAGE
Why This Matters at the Bench & Bedside
Lab AI compresses time between sample collection and actionable result — but every worked example in this unit shares the same structure as the rest of the course: the AI narrows down or flags, and a trained human (pathologist, lab tech, genetic counselor, clinician) makes the final call. Knowing likelihood ratios lets you translate a lab-AI result into an actual bedside probability shift, rather than treating 'positive' or 'negative' as binary certainties. This is HITL applied to the bench, not just the bedside.
~2 min
Lab AI for Medical — Supplementary Unit
12

## Slide 13
COURSE INTEGRATION
How This Unit Fits Your 24-Hr/Month Structure
This is a SUPPLEMENTARY unit — it is not one of the 25 core weeks and does not currently have its own 3+3 hour slot.
Recommended placement: insert as an additional week in Chapter 2 (AI-Driven Diagnostics), immediately after Unit 6 (German Quality Pillars) — pathology/lab AI shares the same explainability and validation themes.
If inserted, Chapter 2 becomes a 5-week chapter (30 hrs: 15 theory + 15 lab) instead of 4 weeks (24 hrs) — the same pattern already used for Chapter 4's 5-week structure.
This deck's slide content (13 slides) maps to a standard 3-hr virtual session; a matching Virtual Clinical Sandbox lab activity (e.g., reviewing de-identified digital pathology images or synthetic lab-critical-value cases) would need to be added separately to reach the full 6-hr week.
~2.5 min
Lab AI for Medical — Supplementary Unit
13

## Slide 14
Lab AI: Same Principle, New Bench.
Human-in-the-Loop applies at the microscope and the analyzer, not just the bedside.
~30 sec
Lab AI for Medical — Supplementary Unit
14